## Slide 1: Proposed calibration workflow
Client instrument
Database
PDF
Reference instrument
Measurement results
(text files)
Administrative data, manual entry (for now)
Laboratory
Human
PC with data acquisition software
Request sequence of measurements?
Calculations to produce results
Check validity of data (QA)
Generate reports
DCC (xml)

## Slide 2: Actual workflow in PSDL
3
1
Data files
Excel
Identification of equipment
Settings
Anything non-standard?
PDF
(un-signed)
Setup
Select files
2
Measure
Client’s equipment
Setup for calibration

## Slide 3
PDF of measurement report

## Slide 4: Digital Calibration Certificate (DCC)